## IEC 62443-3-3
IEC 62443-3-3
Requirement Source | Test Case(s)
IEC 62443-3-3 SR 1.1 | Verify user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Enumerate all authentication and authorization methods.
IEC 62443-3-3 SR 1.1 RE 1 | Verify users are uniquely identified.
IEC 62443-3-3 SR 1.1 RE 2 | Verify at least two-factor authentication is implemented wherever applicable and required.
IEC 62443-3-3 SR 1.1 RE 3 | Verify at least two-factor authentication is implemented wherever applicable and required.
IEC 62443-3-3 SR 1.2 | Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-3-3 SR 1.2 RE 1 | Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-3-3 SR 1.3 | Verify that each account within a system is tied to an individual user for proper auditing, management, and tracking, and that shared accounts are not used.
Verify that Super User accounts, such as Administrator or Root, are disabled or removed wherever possible.
Verify that the identity requirements for user registration are aligned with business and security requirements.
Verify that the proper identification and authorization process is followed while provisioning of accounts.
IEC 62443-3-3 SR 1.3 RE 1 | Verify that consistent account management mechanisms are employed across the system.
Verify that the management of accounts is deployed locally in the relevant components of control system
IEC 62443-3-3 SR 1.4 | Enumerate the users and roles of all resources.
IEC 62443-3-3 SR 1.5 | Verify stored passwords are encrypted/hashed.
Verify that all accounts require a password change prior to continuing with the install.
Verify sensitive password files /etc/shadow and /etc/passwd are accessible only by the Root account.
Verify that passwords are not hardcoded in the source code, firmware, configuration tools, registry keys, scripts, or any other system components.
Verify the password can be changed for a default account.
Enumerate all password storage locations, including text files, databases, and binary objects.
Verify that the file, database, or object that is used to maintain passwords is only write-able by the application.
Verify that a password change requires the current password to be entered.
Go through the installation process and document all accounts and passwords used during the process, if applicable.
Verify that the default account's username cannot be changed.
Verify default credentials are not used.
Verify passwords are unique and not resettable to any universal factory default value.
IEC 62443-3-3 SR 1.5 RE 1 | Verify Hardware Security Modules or Trusted Platform Modules can be used for user identification and authentication.
IEC 62443-3-3 SR 1.6 | Verify the device uses encryption for wireless access.
In case of using WiFi, verify the WiFi client supports modern authentication protocols.
For using other wireless protocols than WiFi, verify proper security measures are implemented as per protocol.
In case of using ZigBee, verify all communication is encrypted with the Network (NWK) key.
In case of using Bluetooth Low Energy (BLE), verify the application uses BLE 5.3 or later release.
In case of using Bluetooth Low Energy (BLE), verify the application uses best feasible security mode and level based on i/o capabilities of devices.
In case of using Bluetooth Low Energy (BLE), verify all keys and data are sent over encrypted link only and encryption key size is configured to maximum allowable.
In case of using Bluetooth Low Energy (BLE) mesh, verify, on node removal, that the application blacklists the device and refreshes the key.
In case of using ZigBee, verify no publicly known keys are used in the network.
In case of using ZigBee, verify rejoin requests are securely handled.
In case of using ZigBee, verify insecure rejoin requests are disabled or not responded to.
In case of using ZigBee, verify network communication is not permitted with a modified Network (NWK) key.
In case of using ZigBee, verify previously captured network traffic cannot be replayed.
IEC 62443-3-3 SR 1.6 RE 1 | Verify users are uniquely identified.
Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-3-3 SR 1.7 | Verify password complexity policies are configurable and enforceable.
Verify that, in case a credential is a password, its minimum length is 6 characters.
IEC 62443-3-3 SR 1.7 RE 1 | Verify that passwords can either be expired based on a specific time interval or restricted from reuse.
Verify password complexity policies are configurable and enforceable.
IEC 62443-3-3 SR 1.7 RE 2 | Verify that passwords can either be expired based on a specific time interval or restricted from reuse.
IEC 62443-3-3 SR 1.8 | Verify that certificates for PKI-based authentication are validated against a trust anchor.
IEC 62443-3-3 SR 1.9 | Verify that certificates for PKI-based authentication are validated against a trust anchor.
Verify that authorized access is enforced to access or use the private key for PKI-based authentication.
Verify that the authenticated identity is mapped to the corresponding user account for PKI-based authentication.
IEC 62443-3-3 SR 1.9 RE 1 | Verify that Hardware Security Modules (HSMs) or Trusted Platform Modules (TPMs) in use are physically protected.
Verify that the failure of the cryptographic module authentication fails secure.
Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
IEC 62443-3-3 SR 1.10 | Verify error messages do not specify whether a user exists.
Verify error messages do not specify a locked out account.
Verify error messages do not specify a maximum number of failed attempts tried before locking.
Verify the system mitigates account enumeration and guessable user accounts.
IEC 62443-3-3 SR 1.11 | Verify unsuccessful login attempts are limited to a maximum number of tries within a time period.
Verify an unsuccessful login attempt automatically locks the account for a specified period of time.
Verify additional login attempts are delayed.
Verify only an administrator can unlock an account when the maximum number of unsuccessful attempts is exceeded.
IEC 62443-3-3 SR 1.12 | Verify that the device or system displays an 'Appropriate Use' warning banner to warn-off unauthorized users when required.
Verify appropriate warning messages are displayed.
IEC 62443-3-3 SR 1.13 | Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
IEC 62443-3-3 SR 1.13 RE 1 | Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
IEC 62443-3-3 SR 2.1 | Verify that the level of privileges assigned to all processes/services are identified by using the list of enumerated processes/services. This includes determining the service level account allocated to each process/service, such as local service, network service, or local system.
Verify that all non-root or non-admin accounts have read-only permissions or less for important files, such as /etc/sunders, /etc/ssh/sshd_config, /etc/group, /etc/shadow, /etc/passwd, Program Data etc.
Verify users have a minimal write permissions.
Verify that protection against directory traversal/file include attacks is implemented.
Verify the system mitigates unauthorized access to admin functions.
Verify that privileges for Set User ID accounts are raised as late as possible and released as soon as possible. This may require access to code to confirm, or reverse engineer using a tool such as Interactive Disassembler (IDA).
IEC 62443-3-3 SR 2.1 RE 1 | Verify all web pages and resources by default require authentication, except those specifically intended to be public.
Verify all authentication controls are enforced on the server side, and not on the client.
Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify access is restricted based on user, role, and attributes.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
Verify a mechanism for device or user authentication is implemented.
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Verify that guest and training accounts have limited access permissions and cannot perform any actions that compromise the security or integrity of the application or its users.
Enumerate all the processes and services running in the device or system using a root shell.
Verify that the level of privileges assigned to all processes/services are identified by using the list of enumerated processes/services. This includes determining the service level account allocated to each process/service, such as local service, network service, or local system.
Verify each process and service is not running as root for Linux systems.
Verify each process and service is not running as LOCAL SYSTEM for Windows systems.
Verify that administrative interfaces are not accessible to untrusted parties.
Verify that non-root accounts are used for network services.
Verify that all service accounts have shell access disabled by verifying that the shell is set to "/dev/null" in the passwd file
IEC 62443-3-3 SR 2.1 RE 2 | Verify access is restricted based on user, role, and attributes.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the system has defined roles for admin and regular users, and that the permission matrix is mapped according to the hierarchy of the roles.
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
IEC 62443-3-3 SR 2.1 RE 3 | Verify that the system supports supervisor manual override of current authorizations.
IEC 62443-3-3 SR 2.1 RE 4 | Verify if the system supports dual approval checks for critical actions.
IEC 62443-3-3 SR 2.2 | In case of using Bluetooth Low Energy (BLE), verify the application uses BLE 5.3 or later release.
In case of using Bluetooth Low Energy, verify advertisements are transmitted evenly across all three advertising channels and advertisement data is encrypted.
In case of using Bluetooth Low Energy (BLE), verify the application uses best feasible security mode and level based on i/o capabilities of devices.
In case of using Bluetooth Low Energy, verify unneeded and unapproved services and profiles are disabled.
In case of using Bluetooth Low Energy (BLE) mesh, verify, on node removal, that the application blacklists the device and refreshes the key.
Enumerate all remote interfaces, including network ports and services.
Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Enumerate all wireless interfaces (such as WiFi, ZigBee, Bluetooth, etc.).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify that no insecure services such as HTTP, FTP, or Telnet are being used and that they are disabled by default at minimum.
Verify only secure services are used, such as HTTPS, SFTP, and SSH.
Verify that wireless radios such as WiFi and Bluetooth are disabled by default.
Verify Secure DNS is used instead of DNS.
Verify Secure DNP3 is utilized if DNP3 is supported.
Verify Secure Tunneling is used for unsecured legacy protocols.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
IEC 62443-3-3 SR 2.2 RE 1 | Verify if the system supports detection and reporting of unauthorized devices transmitting within the system physical environment.
IEC 62443-3-3 SR 2.3 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
IEC 62443-3-3 SR 2.3 RE 1 | Verify access control is in place to restrict devices that do not adhere to the security requirements of a zone.
IEC 62443-3-3 SR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-3-3 SR 2.4 RE 1 | Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-3-3 SR 2.5 | Verify configurations cannot be changed while the session is locked.
Identify all authentication methods and session management techniques.
Verify a session can be re-established only after completing the identification and authentication procedures.
Verify the Session Management Schema can not be bypassed.
Verify adequate logout functionality is implemented.
Verify a session is terminated on server side, and not on the client side.
Verify a local session is automatically terminated after an appropriateset time of inactivity.
IEC 62443-3-3 SR 2.6 | Verify that if remote access, for example, SSH, SFTP, etc., is provisioned, remote access sessions are encrypted.
Verify the cryptographic libraries used for encryption are FIPS-140-2 compliant.
Verify remote access is logged.
Verify remote administrative activities are logged. Examples are configurations changes, settings, upgrades, etc.
Verify remote maintenance activities are logged. Examples are diagnostics, reading logs, preventive maintenance, etc.
Verify a remote session is automatically terminated after a set period of time of inactivity.
If SSH/Remote Access is enabled, then verify that PermitRootLogin is disabled or configured to Without-Password.
IEC 62443-3-3 SR 2.7 | Verify concurrent logins are disallowed by default.
IEC 62443-3-3 SR 2.8 | Verify that the system or the device has an audit log that can be exported, in a business readable format.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the date and time stamp using the WHEN parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the location of the event using the WHERE parameter.
Verify that appropriate access controls are in place for event log data and that access to logs is restricted based on a need-to-know basis.
Verify that the event of deleting logs is recorded, either in the system or at the beginning of a new log.
IEC 62443-3-3 SR 2.8 RE 1 | Verify the system can centrally manage audit events.
IEC 62443-3-3 SR 2.9 | Verify that logging cannot be used to deplete system resources, for example by filling up disk space or exceeding database log space, leading to Denial of Service (DoS).
IEC 62443-3-3 SR 2.9 RE 1 | Verify the device gives a warning when the audit record storage capacity threshold is reached.
IEC 62443-3-3 SR 2.10 | Verify logs are retained after a local power outage.
Verify logs are retained after a device or system reboot.
Verify the application continues to function even when audit logging failed.
Verify appropriate action is taken when audit logging failed according to commonly accepted industry practices and recommendations.
IEC 62443-3-3 SR 2.11 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the date and time stamp using the WHEN parameter.
Verify periodic time-shift events, such as daylight savings time in some locations, are considered and reflect in audit logs.
IEC 62443-3-3 SR 2.11 RE 1 | Verify components shall provide the capability to create timestamps that are synchronized with a system wide time source e.g. NTP server.
Verify the network device compares internal information system clocks at a configurable time with an authoritative time server.
IEC 62443-3-3 SR 2.11 RE 2 | Verify that logs are restricted to authorized users only and are immutable.
Verify periodic time-shift events, such as daylight savings time in some locations, are considered and reflect in audit logs.
Verify that the time synchronization mechanism provides the capability to detect unauthorized alteration and causes an audit event upon alteration.
IEC 62443-3-3 SR 2.12 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
IEC 62443-3-3 SR 2.12 RE 1 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
IEC 62443-3-3 SR 3.1 | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
Verify that adequate mechanisms are implemented to ensure communication integrity and confidentiality on all protocols that do not support cryptography.
Verify that there exists a mechanism to preserve and check data integrity on a Controller Area Network (CAN) Bus or any other similar network.
IEC 62443-3-3 SR 3.1 RE 1 | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
IEC 62443-3-3 SR 3.2 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-3-3 SR 3.2 RE 1 | Verify that the system supports malicious code mechanisms at all entry and exit points
IEC 62443-3-3 SR 3.2 RE 2 | Verify if management and reporting is in place for malicious code protection mechanisms
IEC 62443-3-3 SR 3.3 | Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-3-3 SR 3.3 RE 1 | Verify that the system or the device has an audit log that can be exported, in a business readable format.
Verify that the integrity check cannot be bypassed by any means.
Verify that automated mechanisms to support management of security verification are in place.
IEC 62443-3-3 SR 3.3 RE 2 | Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-3-3 SR 3.4 | Enumerate all external file inputs to the device.
Verify that unsupported file formats can not be uploaded.
Verify input files include an integrity check, such as a Message Authentication Code (MAC) or Signature.
Verify, if a digital signature is used, the Message Authentication Code (MAC) is either SHA, RSA, DSA, or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verify the integrity check status is logged.
Verify that only read-only configuration files can be uploaded by the user in case there is no integrity check mechanism for configuration files.
Verify that the configuration file integrity mechanism cannot be bypassed in any manner.
Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device or system maintains a complete image of all currently deployed software.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
IEC 62443-3-3 SR 3.4 RE 1 | Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
IEC 62443-3-3 SR 3.5 | Verify that user supplied data is encoded prior to viewing in intended log viewing interface, to prevent injection attacks.
Verify all data inputs via user interfaces and transferred via Application Programming Interfaces (APIs) or between networks in services and devices are validated.
Verify that all data inputs from web applications, mobile apps, and PC tools undergo validation.
Verify inputs outside the character set are disallowed in user input fields.
Verify inputs exceeding the field length are disallowed in user input fields.
Verify inputs outside the allowed range are disallowed in user input fields
Verify inputs are handled as expected when fuzzed.
Verify the device mitigates vulnerabilities in HTTP Methods.
Verify the application only accepts logically valid data.
Verify the application mitigates the ability to forge requests.
Verify the application mitigates process timing vulnerabilities.
Verify the application or system mitigates function limit vulnerabilities.
Verify the workflows of the application cannot be circumvented.
Verify the device has protection mechanisms against application mis-uses.
Verify only approved file types can be uploaded in the application.
Verify the device mitigates the upload of malicious files.
Verify if the device mitigates JavaScript Execution.
Verify the application mitigates CSS Injection.
Verify the device mitigates Client Side Resource Manipulation.
Validate the device mitigates Cross Origin Resource Sharing.
Verify the device mitigates Cross Site Flashing.
Verify the application mitigates Clickjacking.
Verify the device establishes a secure WebSocket connection.
Verify the message's origin is secure and that safe methods are used to process data and validate input.
Verify the device mitigates Local Storage vulnerabilities.
Verify that proper character sets, such as UTF-8 have been enforced for all user input, to prevent alternate character sets, for example allowing foreign languages that may issue injection attacks.
Verify that saved files are not accessible through the application's web context and are instead stored securely on a content server or database.
Verify that all output to other system components is sanitized and encoded properly before sending outside of the application trust boundary.
IEC 62443-3-3 SR 3.6 | Verify that upon a failure the product's functionality is limited only to allow maintenance of the device.
Verify upon a successful startup, only necessary ports, services, and settings are enabled by default.
IEC 62443-3-3 SR 3.7 | Verify that detailed error messages are only accessible to authorized users, such as admins or maintenance personnel.
Verify error messages do not contain exploitable information.
Verify error messages do not contain device or system component information.
Verify error messages do not contain information for correction.
Verify error messages do not contain failure details.
Verify error messages do not contain stack traces.
Verify error messages do not contain memory locations.
Verify error messages do not contain information outside the user's scope.
IEC 62443-3-3 SR 3.8 | Identify all authentication methods and session management techniques.
Verify a session can be re-established only after completing the identification and authentication procedures.
Verify that user input is transmited using secure protocols.
Verify the Session Management Schema can not be bypassed.
Verify secure cookie handling.
Verify the system mitigates session hijacking.
Verify the protection of session variables from eavesdropping and reuse of session tokens vulnerabilities.
Verify the system mitigates Cross Site Request Forgery.
Verify the server framework is used for session management and that the developer did not create their own.
Verify the system is mitigates session puzzling.
Verify the protection of sensitive data during network transmission.
IEC 62443-3-3 SR 3.8 RE 1 | Verify a local session is automatically terminated after an appropriateset time of inactivity.
Verify the server framework is used for session management and that the developer did not create their own.
IEC 62443-3-3 SR 3.8 RE 2 | Verify the protection of session variables from eavesdropping and reuse of session tokens vulnerabilities.
Verify the server framework is used for session management and that the developer did not create their own.
IEC 62443-3-3 SR 3.8 RE 3 | Verify the server framework is used for session management and that the developer did not create their own.
IEC 62443-3-3 SR 3.9 | Verify logs are retained after a local power outage.
Verify logs are retained after a device or system reboot.
Verify that logs are restricted to authorized users only and are immutable.
Verify that appropriate access controls are in place for event log data and that access to logs is restricted based on a need-to-know basis.
IEC 62443-3-3 SR 3.9 RE 1 | Verify that audit records are being produced on hardware-enforced write-once media, such as WORM drives or Non-Volatile Memory.
IEC 62443-3-3 SR 4.1 | Identify all the sensitive and personal information generated, stored, used or communicated by the system.
Enumerate all cryptographic functions of the application.
Verify that the developer did not 'roll their own' encryption and that best practice libraries are used for all cryptographic functions.
Verify that all sensitive or personal data is encrypted when at rest. This includes all forms of sensitive information, for example cached data in web browsers, temporary files, logs, sensitive secrets in configuration files, etc.
Verify that device manufacturers and service providers provide consumers with clear and transparent information about how their personal data is being used.
Verify that where personal data is processed on the basis of consumers' consent, this consent is obtained in a valid way.
Verify that customers who gave consent for the processing of their personal data are given the opportunity to withdraw it at any time.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that adequate mechanisms are implemented to ensure communication integrity and confidentiality on all protocols that do not support cryptography.
Verify that there exists a mechanism to preserve and check data confidentiality on a Controller Area Network (CAN) Bus or any other similar network.
IEC 62443-3-3 SR 4.1 RE 1 | Verify the confidentiality of information in remote access sessions is protected.
Verify the confidentiality of information at rest is protected.
IEC 62443-3-3 SR 4.1 RE 2 | Verify the confidentiality of information traversing the zone boundaries is protected.
IEC 62443-3-3 SR 4.2 | Identify all the sensitive and personal information generated, stored, used or communicated by the system.
Verify the product documentation details a secure decommissioning of the device.
Verify that the device sanitizes sensitive information as per the device documentation.
Verify that recovering of any sensitive information from the decommissioned device is difficult and requires significant effort using specialized tools and skill sets.
Verify personal data can easily be removed.
Verify consumers are given clear instructions on how to delete their personal data, especially for IoT systems.
Verify consumers are provided with clear confirmation that personal data has been deleted from services, devices and applications, especially for IoT systems.
IEC 62443-3-3 SR 4.2 RE 1 | Verify portable devices and media can be enabled only by specifically authorized users.
Verify automated execution of code from portable devices or media is disabled.
Remove the removable memory and inspect the contents, verify that no sensitive data is stored on the removable memory.
Visually inspect and enumerate any removable memory, such as SD cards.
IEC 62443-3-3 SR 4.3 | Enumerate all cryptographic functions of the application.
Verify only recommended ciphers are enabed on the server.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify SSL certificates are signed using SHA-2 (with SHA-256 or higher) hashing algorithm.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify the cryptography does not degrade the performance of the system.
Verify the failure of the cryptography does not result in a Denial of Service (DoS).
Verify used encryption does not support or fallback to insecure ciphers.
Verify that any connection does not accept invalid certificates.
IEC 62443-3-3 SR 5.1 | Verify that the system has the capability to logically segment system networks.
IEC 62443-3-3 SR 5.1 RE 1 | Verify that the system has the capability to physically segment system networks.
IEC 62443-3-3 SR 5.1 RE 2 | Verify that the system supports stand-alone network services.
Verify the system is isolated by using a network scanning tool to scan the system networks and verify that no non-system connections or services are detected.
IEC 62443-3-3 SR 5.1 RE 3 | Verify that networks can be logically and physically isolated.
Verify that critical system networks are only accessible by authorized networks.
IEC 62443-3-3 SR 5.2 | Verify the system supports security controls to control and monitor zone boundary communication.
IEC 62443-3-3 SR 5.2 RE 1 | Verify that the system controls and filters all traffic passing between network segments using 'deny unless specifically permitted' policies.
Verify that permit rules are restricted to the smallest number of endpoints, workstations, devices, and services possible.
IEC 62443-3-3 SR 5.2 RE 2 | Verify that the network component provides the capability to protect against any communication through the control system boundary when there is an operational failure of the boundary protection mechanisms, using the fail close approach.
Verify that the network component provides the capability to protect against any communication through the control system boundary (also termed island mode).
IEC 62443-3-3 SR 5.2 RE 3 | Verify that the network component provides the capability to protect against any communication through the control system boundary when there is an operational failure of the boundary protection mechanisms, using the fail close approach.
IEC 62443-3-3 SR 5.3 | Verify that the network device at a zone boundary provides the capability to protect against general purpose, person-to-person messages from being received from users or systems external to the control system.
IEC 62443-3-3 SR 5.3 RE 1 | Verify that the network device at a zone boundary provides the capability to protect against general purpose, person-to-person messages from being received from users or systems external to the control system.
Verify the system supports security controls to control and monitor zone boundary communication.
IEC 62443-3-3 SR 5.4 | Verify that applications and services can be physically or logically isolated.
IEC 62443-3-3 SR 6.1 | Verify that logs are restricted to authorized users only and are immutable.
IEC 62443-3-3 SR 6.1 RE 1 | Verify that the system or the device has an audit log that can be exported, in a business readable format.
IEC 62443-3-3 SR 6.2 | Verify that the system supports security monitoring mechanisms.
IEC 62443-3-3 SR 7.1 | Verify a single user cannot overload a system with certain requests, such as the recording and sending of the same packets repetitively.
IEC 62443-3-3 SR 7.1 RE 1 | Verify that the device has measures in place to prevent or minimize the impact of denial-of-service attacks, such as excessive network traffic, log flooding, and application/protocol traffic.
Verify that request throttling is in place to prevent automated attacks against common authentication attacks such as brute force attacks or denial of service attacks.
IEC 62443-3-3 SR 7.1 RE 2 | Verify that there exists some mechanism to prevent DoS attacks such as CANBus Flooding, Overloading, and others.
Verify that there exists some protective mechanism that can prevent DoS attacks, which involve flooding the network with excessive data or using unauthorized applications from remote devices to disrupt the system.
IEC 62443-3-3 SR 7.2 | Verify that the device has measures in place to prevent or minimize the impact of denial-of-service attacks, such as excessive network traffic, log flooding, and application/protocol traffic.
Verify that there exists some protective mechanism that can prevent DoS attacks, which involve flooding the network with excessive data or using unauthorized applications from remote devices to disrupt the system.
IEC 62443-3-3 SR 7.3 | Verify there are backup mechanisms implemented for system components, such as application servers, database servers, and others.
Verify that the backup mechanism covers all critical system components.
Verify the backup mechanism is fully documented.
Verify the recovery mechanism is fully documented.
Verify the recovery mechanism has been tested.
IEC 62443-3-3 SR 7.3 RE 1 | Verify that any backups containing Personal Identifiable Information (PII) or sensitive data are encrypted.
Verify that the backups are prevented from unauthorized access.
IEC 62443-3-3 SR 7.3 RE 2 | Verify that a backup frequency is defined for the system.
IEC 62443-3-3 SR 7.4 | Verify that product performs the software integrity test before loading any applications or performing any functions of the product.
Simulate a product failure by tampering one of the software components in the data store and verify that it fails the software integrity test on initial power up.
Verify that upon a failure the product enters a failure mode which clearly indicates to the user that the product has failed to start up successfully.
Verify the system starts up in a defined known state.
Verify the system has a defined known secure state.
Verify the system fails to the known secure state.
Verify a device failed to the known state does not allow access without verifying credentials.
Verify that a control system has been successfully recovered and reconstituted to a known secure state by checking that all system parameters are set to secure values, security-critical patches are reinstalled, security-related configuration settings are reestablished, system documentation and operating procedures are available, application and system software is reinstalled and configured with secure settings, information from the most recent, known secure backups is loaded, and the system is fully tested and functional.
IEC 62443-3-3 SR 7.5 | Perform a power failure simulation test.
IEC 62443-3-3 SR 7.6 | Enumerate all services, components, and operating systems.
Verify all enumerated components are compliant with standard secure baseline configurations such as NIST, CIS, DISA, and others.
Verify the system provides the capability to be configured according to recommended network and security configurations as described in guidelines provided by the control system supplier.
Verify the system has an interface to the currently deployed network and security configuration settings.
IEC 62443-3-3 SR 7.6 RE 1 | Verify the system can generate a report listing the currently deployed security settings in a machine-readable format.
IEC 62443-3-3 SR 7.7 | Enumerate additional services that are installed, but not enabled.
Verify that all additional services which are installed, but not required for operations are removed.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
Verify there are not any unnecessary network services.
IEC 62443-3-3 SR 7.8 | Verify that there is a designated system capable of retrieving and storing data from all system components either daily or upon request.
Verify that the data retrieved from all system components includes information such as current version numbers, installation dates, configuration settings, and patch levels.

## IEC 62443-4-2
IEC 62443-4-2
Requirement Source | Test Case(s)
IEC 62443-4-2 CR 1.1 | Verify user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Enumerate all authentication and authorization methods.
IEC 62443-4-2 CR 1.1 RE 1 | Verify users are uniquely identified.
IEC 62443-4-2 CR 1.1 RE 2 | Verify at least two-factor authentication is implemented wherever applicable and required.
IEC 62443-4-2 CR 1.2 | Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-4-2 CR 1.2 RE 1 | Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-4-2 CR 1.3 | Verify that each account within a system is tied to an individual user for proper auditing, management, and tracking, and that shared accounts are not used.
Verify that Super User accounts, such as Administrator or Root, are disabled or removed wherever possible.
Verify that the identity requirements for user registration are aligned with business and security requirements.
Verify that the proper identification and authorization process is followed while provisioning of accounts.
IEC 62443-4-2 CR 1.4 | Enumerate the users and roles of all resources.
IEC 62443-4-2 CR 1.5 | Verify stored passwords are encrypted/hashed.
Verify that all accounts require a password change prior to continuing with the install.
Verify sensitive password files /etc/shadow and /etc/passwd are accessible only by the Root account.
Verify that passwords are not hardcoded in the source code, firmware, configuration tools, registry keys, scripts, or any other system components.
Verify the password can be changed for a default account.
Enumerate all password storage locations, including text files, databases, and binary objects.
Verify that the file, database, or object that is used to maintain passwords is only write-able by the application.
Verify that a password change requires the current password to be entered.
Go through the installation process and document all accounts and passwords used during the process, if applicable.
Verify that the default account's username cannot be changed.
Verify default credentials are not used.
Verify passwords are unique and not resettable to any universal factory default value.
IEC 62443-4-2 CR 1.5 RE 1 | Verify Hardware Security Modules or Trusted Platform Modules can be used for user identification and authentication.
IEC 62443-4-2 CR 1.6 | Verify the device uses encryption for wireless access.
In case of using WiFi, verify the WiFi client supports modern authentication protocols.
For using other wireless protocols than WiFi, verify proper security measures are implemented as per protocol.
In case of using ZigBee, verify all communication is encrypted with the Network (NWK) key.
In case of using Bluetooth Low Energy (BLE), verify the application uses BLE 5.3 or later release.
In case of using Bluetooth Low Energy (BLE), verify the application uses best feasible security mode and level based on i/o capabilities of devices.
In case of using Bluetooth Low Energy (BLE), verify all keys and data are sent over encrypted link only and encryption key size is configured to maximum allowable.
In case of using Bluetooth Low Energy (BLE) mesh, verify, on node removal, that the application blacklists the device and refreshes the key.
In case of using ZigBee, verify no publicly known keys are used in the network.
In case of using ZigBee, verify rejoin requests are securely handled.
In case of using ZigBee, verify insecure rejoin requests are disabled or not responded to.
In case of using ZigBee, verify network communication is not permitted with a modified Network (NWK) key.
In case of using ZigBee, verify network communication is not permitted with a modified Network (NWK) key.
IEC 62443-4-2 CR 1.7 | Verify password complexity policies are configurable and enforceable.
Verify that, in case a credential is a password, its minimum length is 6 characters.
IEC 62443-4-2 CR 1.7 RE 1 | Verify that passwords can either be expired based on a specific time interval or restricted from reuse.
Verify password complexity policies are configurable and enforceable.
IEC 62443-4-2 CR 1.7 RE 2 | Verify that passwords can either be expired based on a specific time interval or restricted from reuse.
IEC 62443-4-2 CR 1.8 | Verify that certificates for PKI-based authentication are validated against a trust anchor.
IEC 62443-4-2 CR 1.9 | Verify that certificates for PKI-based authentication are validated against a trust anchor.
Verify that authorized access is enforced to access or use the private key for PKI-based authentication.
Verify that the authenticated identity is mapped to the corresponding user account for PKI-based authentication.
IEC 62443-4-2 CR 1.9 RE 1 | Verify that Hardware Security Modules (HSMs) or Trusted Platform Modules (TPMs) in use are physically protected.
Verify that the failure of the cryptographic module authentication fails secure.
Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
IEC 62443-4-2 CR 1.10 | Verify error messages do not specify whether a user exists.
Verify error messages do not specify a locked out account.
Verify error messages do not specify a maximum number of failed attempts tried before locking.
Verify the system mitigates account enumeration and guessable user accounts.
IEC 62443-4-2 CR 1.11 | Verify unsuccessful login attempts are limited to a maximum number of tries within a time period.
Verify an unsuccessful login attempt automatically locks the account for a specified period of time.
Verify additional login attempts are delayed.
Verify only an administrator can unlock an account when the maximum number of unsuccessful attempts is exceeded.
IEC 62443-4-2 CR 1.12 | Verify that the device or system displays an 'Appropriate Use' warning banner to warn-off unauthorized users when required.
Verify appropriate warning messages are displayed.
IEC 62443-4-2 CR 1.13 | Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
IEC 62443-4-2 CR 1.14 | Verify separate and unique keys are used for different functions such as transmitting data between devices, communicating with servers, encrypting files, and generating digital signatures.
Verify that there exists a crypto-log in product documentation with information about each key or certificate, key-lengths, usage, location, and responsible party.
Confirm that all cryptographic algorithms utilized are approved by NIST or FIPS.
Verify keys are stored and managed securely.
IEC 62443-4-2 CR 1.14 RE 1 | Verify Hardware Security Modules or Trusted Platform Modules can be used for user identification and authentication.
IEC 62443-4-2 CR 2.1 | Verify that the level of privileges assigned to all processes/services are identified by using the list of enumerated processes/services. This includes determining the service level account allocated to each process/service, such as local service, network service, or local system.
Verify that all non-root or non-admin accounts have read-only permissions or less for important files, such as /etc/sunders, /etc/ssh/sshd_config, /etc/group, /etc/shadow, /etc/passwd, Program Data etc.
Verify users have a minimal write permissions.
Verify that protection against directory traversal/file include attacks is implemented.
Verify the system mitigates unauthorized access to admin functions.
Verify that privileges for Set User ID accounts are raised as late as possible and released as soon as possible. This may require access to code to confirm, or reverse engineer using a tool such as Interactive Disassembler (IDA).
IEC 62443-4-2 CR 2.1 RE 1 | Verify all web pages and resources by default require authentication, except those specifically intended to be public.
Verify all authentication controls are enforced on the server side, and not on the client.
Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify access is restricted based on user, role, and attributes.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
Verify a mechanism for device or user authentication is implemented.
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Verify that guest and training accounts have limited access permissions and cannot perform any actions that compromise the security or integrity of the application or its users.
Enumerate all the processes and services running in the device or system using a root shell.
Verify that the level of privileges assigned to all processes/services are identified by using the list of enumerated processes/services. This includes determining the service level account allocated to each process/service, such as local service, network service, or local system.
Verify each process and service is not running as root for Linux systems.
Verify each process and service is not running as LOCAL SYSTEM for Windows systems.
Verify that administrative interfaces are not accessible to untrusted parties.
Verify that non-root accounts are used for network services.
Verify that all service accounts have shell access disabled by verifying that the shell is set to "/dev/null" in the passwd file
IEC 62443-4-2 CR 2.1 RE 2 | Verify access is restricted based on user, role, and attributes.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the system has defined roles for admin and regular users, and that the permission matrix is mapped according to the hierarchy of the roles.
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
IEC 62443-4-2 CR 2.1 RE 3 | Verify that the system supports supervisor manual override of current authorizations.
IEC 62443-4-2 CR 2.1 RE 4 | Verify if the system supports dual approval checks for critical actions.
IEC 62443-4-2 CR 2.2 | In case of using Bluetooth Low Energy (BLE), verify the application uses BLE 5.3 or later release.
In case of using Bluetooth Low Energy, verify advertisements are transmitted evenly across all three advertising channels and advertisement data is encrypted.
In case of using Bluetooth Low Energy (BLE), verify the application uses best feasible security mode and level based on i/o capabilities of devices.
In case of using Bluetooth Low Energy, verify unneeded and unapproved services and profiles are disabled.
In case of using Bluetooth Low Energy (BLE) mesh, verify, on node removal, that the application blacklists the device and refreshes the key.
Enumerate all remote interfaces, including network ports and services.
Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Enumerate all wireless interfaces (such as WiFi, ZigBee, Bluetooth, etc.).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify that no insecure services such as HTTP, FTP, or Telnet are being used and that they are disabled by default at minimum.
Verify only secure services are used, such as HTTPS, SFTP, and SSH.
Verify that wireless radios such as WiFi and Bluetooth are disabled by default.
Verify Secure DNS is used instead of DNS.
Verify Secure DNP3 is utilized if DNP3 is supported.
Verify Secure Tunneling is used for unsecured legacy protocols.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
IEC 62443-4-2 CR 2.3 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
IEC 62443-4-2 CR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-4-2 CR 2.5 | Verify configurations cannot be changed while the session is locked.
Identify all authentication methods and session management techniques.
Verify a session can be re-established only after completing the identification and authentication procedures.
Verify the Session Management Schema can not be bypassed.
Verify adequate logout functionality is implemented.
Verify a session is terminated on server side, and not on the client side.
Verify a local session is automatically terminated after an appropriateset time of inactivity.
IEC 62443-4-2 CR 2.6 | Verify that if remote access, for example, SSH, SFTP, etc., is provisioned, remote access sessions are encrypted.
Verify the cryptographic libraries used for encryption are FIPS-140-2 compliant.
Verify remote access is logged.
Verify remote administrative activities are logged. Examples are configurations changes, settings, upgrades, etc.
Verify remote maintenance activities are logged. Examples are diagnostics, reading logs, preventive maintenance, etc.
Verify a remote session is automatically terminated after a set period of time of inactivity.
If SSH/Remote Access is enabled, then verify that PermitRootLogin is disabled or configured to Without-Password.
IEC 62443-4-2 CR 2.7 | Verify concurrent logins are disallowed by default.
IEC 62443-4-2 CR 2.8 | Verify that the system or the device has an audit log that can be exported, in a business readable format.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the date and time stamp using the WHEN parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the location of the event using the WHERE parameter.
Verify that appropriate access controls are in place for event log data and that access to logs is restricted based on a need-to-know basis.
Verify that the event of deleting logs is recorded, either in the system or at the beginning of a new log.
IEC 62443-4-2 CR 2.9 | Verify that logging cannot be used to deplete system resources, for example by filling up disk space or exceeding database log space, leading to Denial of Service (DoS).
IEC 62443-4-2 CR 2.9 RE 1 | Verify the device gives a warning when the audit record storage capacity threshold is reached.
IEC 62443-4-2 CR 2.10 | Verify logs are retained after a local power outage.
Verify logs are retained after a device or system reboot.
Verify the application continues to function even when audit logging failed.
Verify appropriate action is taken when audit logging failed according to commonly accepted industry practices and recommendations.
IEC 62443-4-2 CR 2.11 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the date and time stamp using the WHEN parameter.
Verify periodic time-shift events, such as daylight savings time in some locations, are considered and reflect in audit logs.
IEC 62443-4-2 CR 2.11 RE 1 | Verify components shall provide the capability to create timestamps that are synchronized with a system wide time source e.g. NTP server.
Verify the network device compares internal information system clocks at a configurable time with an authoritative time server.
IEC 62443-4-2 CR 2.11 RE 2 | Verify that logs are restricted to authorized users only and are immutable.
Verify periodic time-shift events, such as daylight savings time in some locations, are considered and reflect in audit logs.
Verify that the time synchronization mechanism provides the capability to detect unauthorized alteration and causes an audit event upon alteration.
IEC 62443-4-2 CR 2.12 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
IEC 62443-4-2 CR 2.12 RE 1 | Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the user-identity using the WHO parameter.
Verify that audit events including logon and logoff attempts, configuration changes, upgrades, and other related activities are logged with the event type using the WHAT parameter.
IEC 62443-4-2 CR 2.13 | N.A.
IEC 62443-4-2 CR 3.1 | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
Verify that adequate mechanisms are implemented to ensure communication integrity and confidentiality on all protocols that do not support cryptography.
Verify that there exists a mechanism to preserve and check data integrity on a Controller Area Network (CAN) Bus or any other similar network.
IEC 62443-4-2 CR 3.1 RE 1 | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
IEC 62443-4-2 CR 3.2 | N.A.
IEC 62443-4-2 CR 3.3 | Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 CR 3.3 RE 1 | Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 CR 3.4 | Enumerate all external file inputs to the device.
Verify that unsupported file formats can not be uploaded.
Verify input files include an integrity check, such as a Message Authentication Code (MAC) or Signature.
Verify, if a digital signature is used, the Message Authentication Code (MAC) is either SHA, RSA, DSA, or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verify the integrity check status is logged.
Verify that only read-only configuration files can be uploaded by the user in case there is no integrity check mechanism for configuration files.
Verify that the configuration file integrity mechanism cannot be bypassed in any manner.
Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device or system maintains a complete image of all currently deployed software.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
IEC 62443-4-2 CR 3.4 RE 1 | Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 CR 3.4 RE 2 | Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
IEC 62443-4-2 CR 3.5 | Verify that user supplied data is encoded prior to viewing in intended log viewing interface, to prevent injection attacks.
Verify all data inputs via user interfaces and transferred via Application Programming Interfaces (APIs) or between networks in services and devices are validated.
Verify that all data inputs from web applications, mobile apps, and PC tools undergo validation.
Verify inputs outside the character set are disallowed in user input fields.
Verify inputs exceeding the field length are disallowed in user input fields.
Verify inputs outside the allowed range are disallowed in user input fields
Verify inputs are handled as expected when fuzzed.
Verify the device mitigates vulnerabilities in HTTP Methods.
Verify the application only accepts logically valid data.
Verify the application mitigates the ability to forge requests.
Verify the application mitigates process timing vulnerabilities.
Verify the application or system mitigates function limit vulnerabilities.
Verify the workflows of the application cannot be circumvented.
Verify the device has protection mechanisms against application mis-uses.
Verify only approved file types can be uploaded in the application.
Verify the device mitigates the upload of malicious files.
Verify if the device mitigates JavaScript Execution.
Verify the application mitigates CSS Injection.
Verify the device mitigates Client Side Resource Manipulation.
Validate the device mitigates Cross Origin Resource Sharing.
Verify the device mitigates Cross Site Flashing.
Verify the application mitigates Clickjacking.
Verify the device establishes a secure WebSocket connection.
Verify the message's origin is secure and that safe methods are used to process data and validate input.
Verify the device mitigates Local Storage vulnerabilities.
Verify that proper character sets, such as UTF-8 have been enforced for all user input, to prevent alternate character sets, for example allowing foreign languages that may issue injection attacks.
Verify that saved files are not accessible through the application's web context and are instead stored securely on a content server or database.
Verify that all output to other system components is sanitized and encoded properly before sending outside of the application trust boundary.
IEC 62443-4-2 CR 3.6 | Verify that upon a failure the product's functionality is limited only to allow maintenance of the device.
Verify upon a successful startup, only necessary ports, services, and settings are enabled by default.
IEC 62443-4-2 CR 3.7 | Verify that detailed error messages are only accessible to authorized users, such as admins or maintenance personnel.
Verify error messages do not contain exploitable information.
Verify error messages do not contain device or system component information.
Verify error messages do not contain information for correction.
Verify error messages do not contain failure details.
Verify error messages do not contain stack traces.
Verify error messages do not contain memory locations.
Verify error messages do not contain information outside the user's scope.
IEC 62443-4-2 CR 3.8 | Identify all authentication methods and session management techniques.
Verify a session can be re-established only after completing the identification and authentication procedures.
Verify that user input is transmited using secure protocols.
Verify the Session Management Schema can not be bypassed.
Verify secure cookie handling.
Verify the system mitigates session hijacking.
Verify the protection of session variables from eavesdropping and reuse of session tokens vulnerabilities.
Verify the system mitigates Cross Site Request Forgery.
Verify the server framework is used for session management and that the developer did not create their own.
Verify the system is mitigates session puzzling.
Verify the protection of sensitive data during network transmission.
IEC 62443-4-2 CR 3.9 | Verify logs are retained after a local power outage.
Verify logs are retained after a device or system reboot.
Verify that logs are restricted to authorized users only and are immutable.
Verify that appropriate access controls are in place for event log data and that access to logs is restricted based on a need-to-know basis.
IEC 62443-4-2 CR 3.9 RE 1 | Verify that audit records are being produced on hardware-enforced write-once media, such as WORM drives or Non-Volatile Memory.
IEC 62443-4-2 CR 3.10 | Verify that the product team has a mechanism for device upgrades in field such as for firmware and hardware.
Verify that the system can update and patch the latest updates.
Perform an initial configuration sequence from factory default settings.
Verify that system components check for system updates prior to final activation and operation.
Verify that the user is at least given the option to apply new updates, prior to operation.
Verify that the product team has a mechanism for patching devices in field, in the event of a critical vulnerability discovery.
Verify that any Over-The-Air upgrade process is secure.
Verify the product supports security updates to the product's software.
Verify security updates are possible in both online and offline network modes.
Verify that product supports reverting to previously installed version if an update is unsuccessful.
Verify that before deployment of the software or firmware components to the product, the download of the software or firmware components is completed.
Verify that download of the software or firmware components to the product does not interrupt the continued operation of the product as intended.
IEC 62443-4-2 CR 3.11 | Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
IEC 62443-4-2 CR 3.12 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 CR 3.13 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 CR 3.14 | Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 CR 4.1 | Identify all the sensitive and personal information generated, stored, used or communicated by the system.
Enumerate all cryptographic functions of the application.
Verify that the developer did not 'roll their own' encryption and that best practice libraries are used for all cryptographic functions.
Verify that all sensitive or personal data is encrypted when at rest. This includes all forms of sensitive information, for example cached data in web browsers, temporary files, logs, sensitive secrets in configuration files, etc.
Verify that device manufacturers and service providers provide consumers with clear and transparent information about how their personal data is being used.
Verify that where personal data is processed on the basis of consumers' consent, this consent is obtained in a valid way.
Verify that customers who gave consent for the processing of their personal data are given the opportunity to withdraw it at any time.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that adequate mechanisms are implemented to ensure communication integrity and confidentiality on all protocols that do not support cryptography.
Verify that there exists a mechanism to preserve and check data confidentiality on a Controller Area Network (CAN) Bus or any other similar network.
IEC 62443-4-2 CR 4.2 | Identify all the sensitive and personal information generated, stored, used or communicated by the system.
Verify the product documentation details a secure decommissioning of the device.
Verify that the device sanitizes sensitive information as per the device documentation.
Verify that recovering of any sensitive information from the decommissioned device is difficult and requires significant effort using specialized tools and skill sets.
Verify personal data can easily be removed.
Verify consumers are given clear instructions on how to delete their personal data, especially for IoT systems.
Verify consumers are provided with clear confirmation that personal data has been deleted from services, devices and applications, especially for IoT systems.
IEC 62443-4-2 CR 4.2 RE 1 | Verify portable devices and media can be enabled only by specifically authorized users.
Verify automated execution of code from portable devices or media is disabled.
Remove the removable memory and inspect the contents, verify that no sensitive data is stored on the removable memory.
Visually inspect and enumerate any removable memory, such as SD cards.
IEC 62443-4-2 CR 4.2 RE 2 | Verify that the devices can verify whether the erasure of information occurred.
IEC 62443-4-2 CR 4.3 | Enumerate all cryptographic functions of the application.
Verify only recommended ciphers are enabed on the server.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify SSL certificates are signed using SHA-2 (with SHA-256 or higher) hashing algorithm.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify the cryptography does not degrade the performance of the system.
Verify the failure of the cryptography does not result in a Denial of Service (DoS).
Verify used encryption does not support or fallback to insecure ciphers.
Verify that any connection does not accept invalid certificates.
IEC 62443-4-2 CR 5.1 | Verify that the system has the capability to logically segment system networks.
IEC 62443-4-2 CR 5.2 | N.A.
IEC 62443-4-2 CR 5.3 | N.A.
IEC 62443-4-2 CR 5.4 | N.A.
IEC 62443-4-2 CR 6.1 | Verify that logs are restricted to authorized users only and are immutable.
IEC 62443-4-2 CR 6.1 RE 1 | Verify that the system or the device has an audit log that can be exported, in a business readable format.
IEC 62443-4-2 CR 6.2 | Verify that the system supports security monitoring mechanisms.
IEC 62443-4-2 CR 7.1 | Verify a single user cannot overload a system with certain requests, such as the recording and sending of the same packets repetitively.
IEC 62443-4-2 CR 7.1 RE 1 | Verify that the device has measures in place to prevent or minimize the impact of denial-of-service attacks, such as excessive network traffic, log flooding, and application/protocol traffic.
Verify that request throttling is in place to prevent automated attacks against common authentication attacks such as brute force attacks or denial of service attacks.
IEC 62443-4-2 CR 7.2 | Verify that the device has measures in place to prevent or minimize the impact of denial-of-service attacks, such as excessive network traffic, log flooding, and application/protocol traffic.
Verify that there exists some protective mechanism that can prevent DoS attacks, which involve flooding the network with excessive data or using unauthorized applications from remote devices to disrupt the system.
IEC 62443-4-2 CR 7.3 | Verify there are backup mechanisms implemented for system components, such as application servers, database servers, and others.
Verify that the backup mechanism covers all critical system components.
Verify the backup mechanism is fully documented.
Verify the recovery mechanism is fully documented.
Verify the recovery mechanism has been tested.
IEC 62443-4-2 CR 7.3 RE 1 | Verify that any backups containing Personal Identifiable Information (PII) or sensitive data are encrypted.
Verify that the backups are prevented from unauthorized access.
IEC 62443-4-2 CR 7.4 | Verify that product performs the software integrity test before loading any applications or performing any functions of the product.
Simulate a product failure by tampering one of the software components in the data store and verify that it fails the software integrity test on initial power up.
Verify that upon a failure the product enters a failure mode which clearly indicates to the user that the product has failed to start up successfully.
Verify the system starts up in a defined known state.
Verify the system has a defined known secure state.
Verify the system fails to the known secure state.
Verify a device failed to the known state does not allow access without verifying credentials.
Verify that a control system has been successfully recovered and reconstituted to a known secure state by checking that all system parameters are set to secure values, security-critical patches are reinstalled, security-related configuration settings are reestablished, system documentation and operating procedures are available, application and system software is reinstalled and configured with secure settings, information from the most recent, known secure backups is loaded, and the system is fully tested and functional.
IEC 62443-4-2 CR 7.5 | Perform a power failure simulation test.
IEC 62443-4-2 CR 7.6 | Enumerate all services, components, and operating systems.
Verify all enumerated components are compliant with standard secure baseline configurations such as NIST, CIS, DISA, and others.
Verify the system provides the capability to be configured according to recommended network and security configurations as described in guidelines provided by the control system supplier.
Verify the system has an interface to the currently deployed network and security configuration settings.
IEC 62443-4-2 CR 7.6 RE 1 | Verify the system can generate a report listing the currently deployed security settings in a machine-readable format.
IEC 62443-4-2 CR 7.7 | Enumerate additional services that are installed, but not enabled.
Verify that all additional services which are installed, but not required for operations are removed.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
Verify there are not any unnecessary network services.
IEC 62443-4-2 CR 7.8 | Verify that there is a designated system capable of retrieving and storing data from all system components either daily or upon request.
Verify that the data retrieved from all system components includes information such as current version numbers, installation dates, configuration settings, and patch levels.
IEC 62443-4-2 SAR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-4-2 SAR 2.4 RE 1 | Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 SAR 3.2 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 EDR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-4-2 EDR 2.4 RE 1 | Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 EDR 2.13 | Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify all interfaces and services not required for operations are disabled by default.
Verify that no insecure services such as HTTP, FTP, or Telnet are being used and that they are disabled by default at minimum.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
IEC 62443-4-2 EDR 2.13 RE 1 | Verify active monitoring of diagnostic and test interfaces are implemented.
IEC 62443-4-2 EDR 3.2 | Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 EDR 3.10 | Verify that the product team has a mechanism for device upgrades in field such as for firmware and hardware.
Verify that the system can update and patch the latest updates.
Perform an initial configuration sequence from factory default settings.
Verify that system components check for system updates prior to final activation and operation.
Verify that the user is at least given the option to apply new updates, prior to operation.
Verify that the product team has a mechanism for patching devices in field, in the event of a critical vulnerability discovery.
Verify that any Over-The-Air upgrade process is secure.
Verify the product supports security updates to the product's software.
Verify security updates are possible in both online and offline network modes.
Verify that product supports reverting to previously installed version if an update is unsuccessful.
Verify that before deployment of the software or firmware components to the product, the download of the software or firmware components is completed.
Verify that download of the software or firmware components to the product does not interrupt the continued operation of the product as intended.
IEC 62443-4-2 EDR 3.10 RE 1 | Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 EDR 3.11 | Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
IEC 62443-4-2 EDR 3.11 RE 1 | Verify that if an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to an issue and should not connect to wider networks than those necessary to perform the alerting function.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
IEC 62443-4-2 EDR 3.12 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 EDR 3.13 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 EDR 3.14 | Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 EDR 3.14 RE 1 | Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 HDR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-4-2 HDR 2.4 RE 1 | Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 HDR 2.13 | Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify all interfaces and services not required for operations are disabled by default.
Verify that no insecure services such as HTTP, FTP, or Telnet are being used and that they are disabled by default at minimum.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
IEC 62443-4-2 HDR 2.13 RE 1 | Verify active monitoring of diagnostic and test interfaces are implemented.
IEC 62443-4-2 HDR 3.2 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 HDR 3.2 RE 1 | Verify that there is a log entry of the product firmware or software update process.
In case the product update erases the audit log during the update process, verify that the product should start the new log with a record of the log erasure including the timestamp, authenticated means, and account.
IEC 62443-4-2 HDR 3.10 | Verify that the product team has a mechanism for device upgrades in field such as for firmware and hardware.
Verify that the system can update and patch the latest updates.
Perform an initial configuration sequence from factory default settings.
Verify that system components check for system updates prior to final activation and operation.
Verify that the user is at least given the option to apply new updates, prior to operation.
Verify that the product team has a mechanism for patching devices in field, in the event of a critical vulnerability discovery.
Verify that any Over-The-Air upgrade process is secure.
Verify the product supports security updates to the product's software.
Verify security updates are possible in both online and offline network modes.
Verify that product supports reverting to previously installed version if an update is unsuccessful.
Verify that before deployment of the software or firmware components to the product, the download of the software or firmware components is completed.
Verify that download of the software or firmware components to the product does not interrupt the continued operation of the product as intended.
IEC 62443-4-2 HDR 3.10 RE 1 | Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 HDR 3.11 | Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
IEC 62443-4-2 HDR 3.11 RE 1 | Verify that if an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to an issue and should not connect to wider networks than those necessary to perform the alerting function.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
IEC 62443-4-2 HDR 3.12 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 HDR 3.13 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 HDR 3.14 | Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 HDR 3.14 RE 1 | Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 NDR 1.6 | Verify the device uses encryption for wireless access.
In case of using WiFi, verify the WiFi client supports modern authentication protocols.
For using other wireless protocols than WiFi, verify proper security measures are implemented as per protocol.
In case of using ZigBee, verify all communication is encrypted with the Network (NWK) key.
In case of using Bluetooth Low Energy (BLE), verify the application uses BLE 5.3 or later release.
In case of using Bluetooth Low Energy (BLE), verify the application uses best feasible security mode and level based on i/o capabilities of devices.
In case of using Bluetooth Low Energy (BLE), verify all keys and data are sent over encrypted link only and encryption key size is configured to maximum allowable.
In case of using Bluetooth Low Energy (BLE) mesh, verify, on node removal, that the application blacklists the device and refreshes the key.
In case of using ZigBee, verify no publicly known keys are used in the network.
In case of using ZigBee, verify rejoin requests are securely handled.
In case of using ZigBee, verify insecure rejoin requests are disabled or not responded to.
In case of using ZigBee, verify network communication is not permitted with a modified Network (NWK) key.
In case of using ZigBee, verify previously captured network traffic cannot be replayed.
IEC 62443-4-2 NDR 1.6 RE 1 | Verify users are uniquely identified.
Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
IEC 62443-4-2 NDR 1.13 | Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
IEC 62443-4-2 NDR 1.13 RE 1 | Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
IEC 62443-4-2 NDR 2.4 | Verify automated execution of code from portable devices or media is disabled.
Enumerate all the code that is downloaded and active on mobile devices during runtime, such as JavaScript, ActiveX, Flash, Java Applets, and others.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls which users (human, software process, or device) are allowed to transfer mobile code to and from the application.
IEC 62443-4-2 NDR 2.4 RE 1 | Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 NDR 2.13 | Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify all interfaces and services not required for operations are disabled by default.
Verify that no insecure services such as HTTP, FTP, or Telnet are being used and that they are disabled by default at minimum.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
IEC 62443-4-2 NDR 2.13 RE 1 | Verify active monitoring of diagnostic and test interfaces are implemented.
IEC 62443-4-2 NDR 3.2 | Verify portable devices and media are disabled by default.
Verify portable devices and media can be enabled only by specifically authorized users.
Verify that mobile and active code technologies, including JavaScript, ActiveX, Flash, and Java Applets, are only permitted to run or be accepted from components deployed on local servers or user networks, and not directly from the internet.
Verify the device controls the execution of mobile code based on the results of an integrity check prior to the code being executed.
IEC 62443-4-2 NDR 3.10 | Verify that the product team has a mechanism for device upgrades in field such as for firmware and hardware.
Verify that the system can update and patch the latest updates.
Perform an initial configuration sequence from factory default settings.
Verify that system components check for system updates prior to final activation and operation.
Verify that the user is at least given the option to apply new updates, prior to operation.
Verify that the product team has a mechanism for patching devices in field, in the event of a critical vulnerability discovery.
Verify that any Over-The-Air upgrade process is secure.
Verify the product supports security updates to the product's software.
Verify security updates are possible in both online and offline network modes.
Verify that product supports reverting to previously installed version if an update is unsuccessful.
Verify that before deployment of the software or firmware components to the product, the download of the software or firmware components is completed.
Verify that download of the software or firmware components to the product does not interrupt the continued operation of the product as intended.
IEC 62443-4-2 NDR 3.10 RE 1 | Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 NDR 3.11 | Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
IEC 62443-4-2 NDR 3.11 RE 1 | Verify that if an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to an issue and should not connect to wider networks than those necessary to perform the alerting function.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
IEC 62443-4-2 NDR 3.12 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
IEC 62443-4-2 NDR 3.13 | Verify the system protects “Root of trust” data via hardware mechanisms, preventing any modification of the data during normal operations of the component.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify the integrity check is logged.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check is performed by the device at least once every 30 days.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 NDR 3.14 | Verify that applications can undergo an integrity check by comparing them to a known source, either a full copy or a hash.
Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check cannot be bypassed by any means.
IEC 62443-4-2 NDR 3.14 RE 1 | Verify that the device or system has the capability to generate and maintain a hash of the currently installed executables and firmwares.
Verify the hash used is SHA2 and stored at secure location, which is not accessible to users.
Verify that the device or system maintains a complete image of all currently deployed software.
Verify that the device maintains a hash of the currently installed software and firmware, including patches.
Verify that any update to the executables and firmwares results in a recalculation and update of this hash.
Verify that an integrity check of all executables and firmwares can be performed by comparing the hash of the component to the hash in the repository.
Verify that the integrity check cannot be bypassed by any means.
Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
IEC 62443-4-2 NDR 5.2 | Verify the system supports security controls to control and monitor zone boundary communication.
IEC 62443-4-2 NDR 5.2 RE 1 | Verify that the system controls and filters all traffic passing between network segments using 'deny unless specifically permitted' policies.
Verify that permit rules are restricted to the smallest number of endpoints, workstations, devices, and services possible.
IEC 62443-4-2 NDR 5.2 RE 2 | Verify that the network component provides the capability to protect against any communication through the control system boundary when there is an operational failure of the boundary protection mechanisms, using the fail close approach.
Verify that the network component provides the capability to protect against any communication through the control system boundary (also termed island mode).
IEC 62443-4-2 NDR 5.2 RE 3 | Verify that the network component provides the capability to protect against any communication through the control system boundary when there is an operational failure of the boundary protection mechanisms, using the fail close approach.
IEC 62443-4-2 NDR 5.3 | Verify that the network device at a zone boundary provides the capability to protect against general purpose, person-to-person messages from being received from users or systems external to the control system.

## ETSI EN 303 645
ETSI EN 303 645
Requirement Source | Requirement Text | Test Cases
Provision 5.1-1 | Where passwords are used and in any state other than the factory default, all consumer IoT device passwords shall be unique per device or defined by the user. | Verify that all accounts require a password change prior to continuing with the install.
Verify users are uniquely identified.
Verify passwords are unique and not resettable to any universal factory default value.
Verify that the default account's username cannot be changed.
Verify the password can be changed for a default account.
Provision 5.1-2 | Where pre-installed unique per device passwords are used, these shall be generated with a mechanism that reduces the risk of automated attacks against a class or type of device. | Verify password complexity policies are configurable and enforceable.
Verify that, in case a credential is a password, its minimum length is 6 characters.
Verify that the file, database, or object that is used to maintain passwords is only write-able by the application.
Verify default passwords are sufficiently randomized.
Go through the installation process and document all accounts and passwords used during the process, if applicable.
Provision 5.1-3 | Authentication mechanisms used to authenticate users against a device shall use best practice cryptography, appropriate to the properties of the technology, risk and usage. | Verify user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Enumerate all authentication and authorization methods.
Verify stored passwords are encrypted/hashed.
Verify sensitive password files /etc/shadow and /etc/passwd are accessible only by the Root account.
Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
Verify that adequate mechanisms are implemented to ensure communication integrity and confidentiality on all protocols that do not support cryptography.
Provision 5.1-4 | Where a user can authenticate against a device, the device shall provide to the user or an administrator a simple mechanism to change the authentication value used. | Verify the password can be changed for a default account.
Verify that a password change requires the current password to be entered.
Verify secure password change and reset functionalities.
Verify secure use of security question and answer.
Verify that all accounts require a password change prior to continuing with the install.
Provision 5.1-5 | When the device is not a constrained device, it shall have a mechanism available which makes bruteforce attacks on authentication mechanisms via network interfaces impracticable. | Verify unsuccessful login attempts are limited to a maximum number of tries within a time period.
Verify an unsuccessful login attempt automatically locks the account for a specified period of time.
Verify additional login attempts are delayed.
Verify only an administrator can unlock an account when the maximum number of unsuccessful attempts is exceeded.
Verify default credentials are not used.
Enumerate all password storage locations, including text files, databases, and binary objects.
Using enumerated list of services, for each authenticated service, brute force the credentials using automated tools.
Verify there is no hardware bypass of passwords, for example jumpers or switches.
Verify there is no mechanism to defeat or circumvent the ID/password control.
Verify that passwords are not hardcoded in the source code, firmware, configuration tools, registry keys, scripts, or any other system components.
Verify that passwords can either be expired based on a specific time interval or restricted from reuse.
Provision 5.2-1 | The manufacturer shall make a vulnerability disclosure policy publicly available. This policy shall include, at a minimum: • contact information for the reporting of issues; and • information on timelines for: 1) initial acknowledgement of receipt; and 2) status updates until the resolution of the reported issues. | Verify for internet-connected devices and services, a public point of contact as part of a vulnerability disclosure policy is provided in order for security researchers and others are to report issues.
Verify that the publicly available vulnerability disclosure policy includes information on timelines for initital acknowledgement of receipt and status updates until the resolution of the reported issues.
Provision 5.2-2 | Disclosed vulnerabilities should be acted on in a timely manner. | Verify disclosed vulnerabilities are acted on in a timely manner.
Provision 5.2-3 | Manufacturers should continually monitor for, identify and rectify security vulnerabilities within products and services they sell, produce, have produced and services they operate during the defined support period. | Verify vulnerability scanning mechansims are in place for the software en hardware of products and services and third parties.
Verify disclosed vulnerabilities are acted on in a timely manner.
Provision 5.3-1 | All software components in consumer IoT devices should be securely updateable. | Verify that all software components in the devices are securely updateable.
Verify that any Over-The-Air upgrade process is secure.
Provision 5.3-2 | When the device is not a constrained device, it shall have an update mechanism for the secure installation of updates. | Verify that all software components in the devices are securely updateable.
Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
Provision 5.3-3 | An update shall be simple for the user to apply. | Verify that when software components are updateable, the need for each update is made clear to consumers and an update is easy to implement.
Provision 5.3-4 | Automatic mechanisms should be used for software updates. | Verify that any Over-The-Air upgrade process is secure.
Verify that the product team has a mechanism for device upgrades in field such as for firmware and hardware.
Verify that the system can update and patch the latest updates.
Verify that system components check for system updates prior to final activation and operation.
Provision 5.3-5 | The device should check after initialization, and then periodically, whether security updates are available. | Verify that the system can update and patch the latest updates.
Perform an initial configuration sequence from factory default settings.
Verify that system components check for system updates prior to final activation and operation.
Provision 5.3-6 | Verify that user is at least given the option to apply new updates, prior to operation. (If applicable) | Verify that the user is at least given the option to apply new updates, prior to operation.
Provision 5.3-7 | The device shall use best practice cryptography to facilitate secure update mechanisms. | Enumerate all cryptographic functions of the application.
Verify only recommended ciphers are enabed on the server.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify SSL certificates are signed using SHA-2 (with SHA-256 or higher) hashing algorithm.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify the cryptography does not degrade the performance of the system.
Verify the failure of the cryptography does not result in a Denial of Service (DoS).
Verify used encryption does not support or fallback to insecure ciphers.
Verify that any connection does not accept invalid certificates.
Provision 5.3-8 | Security updates shall be timely. | Verify that when software components are updateable, updates are timely.
Provision 5.3-9 | The device should verify the authenticity and integrity of software updates. | Verify that when software components are updateable, the provenance of software updates is assured and security patches are delivered over a secure channel.
Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify that the authenticity check is implemented properly in the device. The device should not accept unsigned firmware as well as firmware signed with a self-signed certificate on any interface.
Provision 5.3-10 | Where updates are delivered over a network interface, the device shall verify the authenticity and integrity of each update via a trust relationship. | Verify that when software components are updateable, the provenance of software updates is assured and security patches are delivered over a secure channel.
Provision 5.3-11 | The manufacturer should inform the user in a recognizable and apparent manner that a security update is required together with information on the risks mitigated by that update. | Verify that the consumer is informed by the appropriate entity, such as the manufacturer or service provider, that an update is required.
Provision 5.3-12 | The device should notify the user when the application of a software update will disrupt the basic functioning of the device. | Verify that when software components are updateable, updates, where possible, maintain the basic functioning of the device, which can be critical to remain available during an update.
Provision 5.3-13 | The manufacturer shall publish, in an accessible way that is clear and transparent to the user, the defined support period. | In case the system includes updateable software components, an end-of-life policy is published.
Provision 5.3-14 | For constrained devices that cannot have their software updated, the rationale for the absence of software updates, the period and method of hardware replacement support and a defined support period should be published by the manufacturer in an accessible way that is clear and transparent to the user. | Verify for constrained devices that cannot have their software updated, the rationale regarding software updates, hardware replacement support, and end-of-life policy.
Provision 5.3-15 | For constrained devices that cannot have their software updated, the product should be isolable and the hardware replaceable. | Verify that for constrained devices that cannot have their software updated, the product is isolable and the hardware replaceable.
Provision 5.3-16 | The model designation of the consumer IoT device shall be clearly recognizable, either by labelling on the device or via a physical interface. | Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Verify the model designation of the product is clearly recognizable.
Provision 5.4-1 | Sensitive security parameters in persistent storage shall be stored securely by the device. | Verify stored passwords are encrypted/hashed.
Verify sensitive password files /etc/shadow and /etc/passwd are accessible only by the Root account.
Enumerate all password storage locations, including text files, databases, and binary objects.
Verify that the file, database, or object that is used to maintain passwords is only write-able by the application.
Verify the cryptographic libraries used for encryption are FIPS-140-2 compliant.
Verify that if the software or firmware contains any Personal Identifiable Information or sensitive data, then it must be encrypted.
Verify keys are stored and managed securely.
Provision 5.4-2 | Where a hard-coded unique per device identity is used in a device for security purposes, it shall be implemented in such a way that it resists tampering by means such as physical, electrical or software. | Simulate a product failure by tampering one of the software components in the data store and verify that it fails the software integrity test on initial power up.
Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
Verify that if an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to an issue and should not connect to wider networks than those necessary to perform the alerting function.
Provision 5.4-3 | Hard-coded critical security parameters in device software source code shall not be used. | Verify that passwords are not hardcoded in the source code, firmware, configuration tools, registry keys, scripts, or any other system components.
Provision 5.4-4 | Any critical security parameters used for integrity and authenticity checks of software updates and for protection of communication with associated services in device software shall be unique per device and shall be produced with a mechanism that reduces the risk of automated attacks against classes of devices. | Verify that the system is capable of uniquely identifying and authenticating device(s) before establishing network connections.
Verify that Organizational Authentication solutions are used to identify and authenticate devices on local and/or wide area networks.
Verify that device-to-device identification and authentication when Standard Industrial protocols do not support cryptographic identification and authentication.
Verify firmware executables contain a Digital Signature from a trusted CA and are thus not self-signed.
Verify that the Digital Signature Public Key Algorithm is RSA, DSA or ECDSA.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify that the hashing algorithm used for the digital signature is SHA256.
Verifying firmware with a bad digital signature will result in an error being logged and the default firmware being employed.
Verify separate and unique keys are used for different functions such as transmitting data between devices, communicating with servers, encrypting files, and generating digital signatures.
Provision 5.5-1 | The consumer IoT device shall use best practice cryptography to communicate securely | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
Enumerate all cryptographic functions of the application.
Verify only recommended ciphers are enabed on the server.
Verify SSL certificates are signed using SHA-2 (with SHA-256 or higher) hashing algorithm.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify the cryptography does not degrade the performance of the system.
Verify the failure of the cryptography does not result in a Denial of Service (DoS).
Verify used encryption does not support or fallback to insecure ciphers.
Verify that any connection does not accept invalid certificates.
Provision 5.5-2 | The consumer IoT device should use reviewed or evaluated implementations to deliver network and security functionalities, particularly in the field of cryptography. | Verify that the developer did not 'roll their own' encryption and that best practice libraries are used for all cryptographic functions.
Verify that there exists a crypto-log in product documentation with information about each key or certificate, key-lengths, usage, location, and responsible party.
Confirm that all cryptographic algorithms utilized are approved by NIST or FIPS.
Provision 5.5-3 | Cryptographic algorithms and primitives should be updateable. | Verify that the developer did not 'roll their own' encryption and that best practice libraries are used for all cryptographic functions.
Confirm that all cryptographic algorithms utilized are approved by NIST or FIPS.
Verify that there exists a crypto-log in product documentation with information about each key or certificate, key-lengths, usage, location, and responsible party.
Verify that any Over-The-Air upgrade process is secure.
Provision 5.5-4 | Access to device functionality via a network interface in the initialized state should only be possible after authentication on that interface. | Verify that logs are restricted to authorized users only and are immutable.
Verify all web pages and resources by default require authentication, except those specifically intended to be public.
Verify all authentication controls are enforced on the server side, and not on the client.
Verify access is restricted to privileged functions such as hardware resets and sudo commands.
Verify access is restricted to security information.
Verify access is restricted based on user, role, and attributes.
Verify that there is no method to bypass the Role Based Access Control or Access Control List.
Verify that the device interface and ports are protected from unauthorized access.
Verify that Field Tools require access control to utilize the tool(s).
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Verify a mechanism for device or user authentication is implemented.
Verify device/user authentication mechanism is implemented on all network interfaces that exposes sensitive information or admin level functionality.
Provision 5.5-5 | Device functionality that allows security-relevant changes in configuration via a network interface shall only be accessible after authentication. The exception is for network service protocols that are relied upon by the device and where the manufacturer cannot guarantee what configuration will be required for the device to operate. | Verify that all non-root or non-admin accounts have read-only permissions or less for important files, such as /etc/sunders, /etc/ssh/sshd_config, /etc/group, /etc/shadow, /etc/passwd, Program Data etc.
Verify that only read-only configuration files can be uploaded by the user in case there is no integrity check mechanism for configuration files.
Verify that the configuration file integrity mechanism cannot be bypassed in any manner.
Enumerate all external file inputs to the device.
Verify that unsupported file formats can not be uploaded.
Verify input files include an integrity check, such as a Message Authentication Code (MAC) or Signature.
Verify, if a digital signature is used, the Message Authentication Code (MAC) is either SHA, RSA, DSA, or ECDSA.
Provision 5.5-6 | Critical security parameters should be encrypted in transit, with such encryption appropriate to the properties of the technology, risk and usage. | Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify there is an explicit policy for how cryptographic keys are managed, and the lifecycle of cryptographic keys is enforced. For example, by following a key management standard such as NIST SP 800-57.
Verify that if the software or firmware contains any Personal Identifiable Information or sensitive data, then it must be encrypted.
Provision 5.5-7 | The consumer IoT device shall protect the confidentiality of critical security parameters that are communicated via remotely accessible network interfaces. | Verify passwords are protected from unauthorized disclosure and modification when transmitted.
Identify all potential safety impacts of the information generated, stored, used or communicated by the product.
Assess the protection mechanisms deployed to secure the safety critical data.
Verify that safety critical data is traversing through segmented or segregated communication channels only.
Verify that data passed over common or shared communication channels employ data integrity mechanisms like message authentication scheme to limit the possibility of message spoofing.
Provision 5.5-8 | The manufacturer should follow secure management processes for critical security parameters that relate to the device. | Verify that critical parameters related to the device are being managed securely, including secure key management, firmware updates, boot process, and password management.
Provision 5.6-1 | All unused network and logical interfaces shall be closed. | Verify all interfaces and services not required for operations are disabled by default.
Verify that all additional services which are installed, but not required for operations are removed.
Verify there are not any unnecessary network services.
Provision 5.6-2 | In the initialized state, the network interfaces of the device should minimize the unauthenticated exposure of security-relevant information. | Verify all interfaces and services not required for operations are disabled by default.
Verify there are not any unnecessary network services.
Verify that the device interface and ports are protected from unauthorized access.
Provision 5.6-3 | Device hardware should not unnecessarily expose physical interfaces to attack | Enumerate all the local interfaces, including physical ones at board level (such as JTAG, SPI, I2C, FTDI, OBDII) and device level (such as USB, Serial).
Verify that each enumerated interface either has authentication or has been rendered inoperable.
Verify all interfaces and services not required for operations are disabled by default.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
Verify access to the electronics are not easily compromised, for example ensure there are no exposed fasteners, screws, or other compromisable components.
Visually inspect and enumerate any tamper resistant measures.
Verify the effectiveness of each physical tamper resistant measure to deter and/or alert the system owner to tampering.
Verify that hardware supported tamper resistance mechanisms are effective.
Verify that Hardware Security Modules (HSMs) or Trusted Platform Modules (TPMs) in use are physically protected.
Provision 5.6-4 | Where a debug interface is physically accessible, it shall be disabled in software. | Verify that when a debug interface is physical, it is disabled in software.
Provision 5.6-5 | The manufacturer should only enable software services that are used or required for the intended use or operation of the device. | Enumerate additional services that are installed, but not enabled.
Verify that all additional services which are installed, but not required for operations are removed.
If continued developer access is necessary, verify that any developer-level debugging interfaces are appropriately protected to limit access to authorized privileged users.
Verify there are not any unnecessary network services.
Provision 5.6-6 | Code should be minimized to the functionality necessary for the service/device to operate. | Verify that dead code or code not needed for functionality is removed periodically.
Provision 5.6-7 | Software should run with least necessary privileges, taking account of both security and functionality. | Enumerate all the processes and services running in the device or system using a root shell.
Verify that the level of privileges assigned to all processes/services are identified by using the list of enumerated processes/services. This includes determining the service level account allocated to each process/service, such as local service, network service, or local system.
Verify each process and service is not running as root for Linux systems.
Verify each process and service is not running as LOCAL SYSTEM for Windows systems.
Verify that all non-root or non-admin accounts have read-only permissions or less for important files, such as /etc/sunders, /etc/ssh/sshd_config, /etc/group, /etc/shadow, /etc/passwd, Program Data etc.
Verify users have a minimal write permissions.
Verify that protection against directory traversal/file include attacks is implemented.
Verify the system mitigates unauthorized access to admin functions.
Verify that administrative interfaces are not accessible to untrusted parties.
Verify that non-root accounts are used for network services.
Verify that all service accounts have shell access disabled by verifying that the shell is set to "/dev/null" in the passwd file
Verify that privileges for Set User ID accounts are raised as late as possible and released as soon as possible. This may require access to code to confirm, or reverse engineer using a tool such as Interactive Disassembler (IDA).
Provision 5.6-8 | The device should include a hard-ware level access control mechanism for memory | Verify the device has a hardware level access control mechanism for memory.
Provision 5.6-9 | The manufacturer should follow secure development processes for software deployed on the device | Verify that the Secure Development Lifecycle is followed during development of the software deployed on the device.
Provision 5.7-1 | The consumer IoT device should verify its software using secure boot mechanisms. | Verify that software is verified using secure boot mechanisms, which require a hardware root of trust.
Provision 5.7-2 | If an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to the issue and should not connect to wider networks than those necessary to perform the alerting function. | Verify that if an unauthorized change is detected to the software, the device should alert the consumer and/or administrator to an issue and should not connect to wider networks than those necessary to perform the alerting function.
Provision 5.8-1 | The confidentiality of personal data transiting between a device and a service, especially associated services, should be protected, with best practice cryptography. | Verify message authentication is implemented at the protocol level, if the protocol supports it.
Using a enumerated list of services, for each authentication request, intercept at least one sample.
Verify by sniffing that credentials are transported using a suitable encrypted link and that all pages and functions that require a user to enter credentials are done so using an encrypted link.
Verify that the device adheres to the relevant security standards for each protocol in case message authentication is not implemented at the protocol level.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify HTTP Strict Transport Security (HSTS) implementation by ensuring the server has a valid SSL/TLS certificate and confirming the presence of the HSTS header.
Identify all the sensitive and personal information generated, stored, used or communicated by the system.
Enumerate all cryptographic functions of the application.
Verify that the developer did not 'roll their own' encryption and that best practice libraries are used for all cryptographic functions.
Verify that all sensitive or personal data is encrypted when at rest. This includes all forms of sensitive information, for example cached data in web browsers, temporary files, logs, sensitive secrets in configuration files, etc.
Provision 5.8-2 | The confidentiality of sensitive personal data communicated between the device and associated services shall be protected, with cryptography appropriate to the properties of the technology and usage. | Enumerate all cryptographic functions of the application.
Verify only recommended ciphers are enabed on the server.
Verify TLS 1.2 or TLS 1.3 is used for encryption over network for HTTPS.
Verify SSL certificates are signed using SHA-2 (with SHA-256 or higher) hashing algorithm.
Verify that the minimum key length for the digital signature is 2048-bits for asymmetric RSA and DSA, and 224 for ECDSA.
Verify the cryptography does not degrade the performance of the system.
Verify the failure of the cryptography does not result in a Denial of Service (DoS).
Verify used encryption does not support or fallback to insecure ciphers.
Verify that any connection does not accept invalid certificates.
Verify that if remote access, for example, SSH, SFTP, etc., is provisioned, remote access sessions are encrypted.
Provision 5.8-3 | All external sensing capabilities of the device shall be documented in an accessible way that is clear and transparent for the user. | Verify that all external sensing capabilities of the device are documented in an accessible way that is clear and transparent for the user.
Provision 5.9-1 | Resilience should be built in to consumer IoT devices and services, taking into account the possibility of outages of data networks and power. | Verify that product performs the software integrity test before loading any applications or performing any functions of the product.
Simulate a product failure by tampering one of the software components in the data store and verify that it fails the software integrity test on initial power up.
Verify that upon a failure the product enters a failure mode which clearly indicates to the user that the product has failed to start up successfully.
Verify the system starts up in a defined known state.
Verify the system has a defined known secure state.
Verify the system fails to the known secure state.
Verify a device failed to the known state does not allow access without verifying credentials.
Verify that a control system has been successfully recovered and reconstituted to a known secure state by checking that all system parameters are set to secure values, security-critical patches are reinstalled, security-related configuration settings are reestablished, system documentation and operating procedures are available, application and system software is reinstalled and configured with secure settings, information from the most recent, known secure backups is loaded, and the system is fully tested and functional.
Provision 5.9-2 | Consumer IoT devices should remain operating and locally functional in the case of a loss of network and should recover cleanly in the case of restoration of a loss of power. | Perform a power failure simulation test.
Provision 5.9-3 | The consumer IoT device should connect to networks in an expected, operational and stable state and in an orderly fashion, taking the capability of the infrastructure into consideration. | Verify normal functionality in device is restored in an expected, operational and stable state.
Verify devices return to a network in an orderly fashion, rather than in a massive-scale reconnect.
Provision 5.10-1 | If telemetry data is collected from consumer IoT devices and services, such as usage and measurement data, it should be examined for security anomalies. | Verify that collected telemetry data (e.g. usage and measurement data) is examined for security anomalies.
Provision 5.11-1 | The user shall be provided with functionality such that user data can be erased from the device in a simple manner. | Verify personal data can easily be removed.
Provision 5.11-2 | The consumer should be provided with functionality on the device such that personal data can be removed from associated services in a simple manner. | Verify personal data can easily be removed from associated services.
Provision 5.11-3 | Consumers should be given clear instructions on how to delete their personal data. | Verify consumers are given clear instructions on how to delete their personal data, especially for IoT systems.
Provision 5.11-4 | Consumers should be provided with clear confirmation that personal data has been deleted from services, devices and applications. | Verify consumers are provided with clear confirmation that personal data has been deleted from services, devices and applications, especially for IoT systems.
Provision 5.12-1 | Installation and maintenance of consumer IoT should employ minimal steps and should follow security best practice on usability. | Verify installation and maintenance of the system employ minimal steps and follow security best practice on usability.
Provision 5.12-2 | The manufacturer should provide consumers with guidance on how to securely set up their device. | Verify there is guidance available for consumers to securely set up their device. (e.g. guidance on how to validate the device's capability to establish a secure communication channel)
Provision 5.12-3 | The manufacturer should provide consumers with guidance on how to check whether their device is securely set up. | Verify there is guidance available for consumers to check if their device is securely set up. (e.g. guidance on how to validate the device's capability to establish a secure communication channel)
Provision 5.13-1 | The consumer IoT device software shall validate data input via user interfaces or transferred via application programming interfaces (APIs) or between networks in services and devices. | Verify all data inputs via user interfaces and transferred via Application Programming Interfaces (APIs) or between networks in services and devices are validated.
Provision 6.1 | The manufacturer shall provide consumers with clear and transparent information about what personal data is processed, how it is being used, by whom, and for what purposes, for each device and service. This also applies to third parties that can be involved, including advertisers | Verify that device manufacturers and service providers provide consumers with clear and transparent information about how their personal data is being used.
Provision 6.2 | Where personal data is processed on the basis of consumers' consent, this consent shall be obtained in a valid way. | Verify that where personal data is processed on the basis of consumers' consent, this consent is obtained in a valid way.
Provision 6.3 | Consumers who gave consent for the processing of their personal data shall have the capability to withdraw it at any time. | Verify that customers who gave consent for the processing of their personal data are given the opportunity to withdraw it at any time.
Provision 6.4 | If telemetry data is collected from consumer IoT devices and services, the processing of personal data should be kept to the minimum necessary for the intended functionality. | If telemetry data is collected, verify the processing of personal data is kept to the minimum necessary for the intended functionality.
Provision 6.5 | If telemetry data is collected from consumer IoT devices and services, consumers shall be provided with information on what telemetry data is collected, how it is being used, by whom, and for what purposes | If telemetry data is collected from consumer devices and services, verify consumers are provided with information on what telemetry data is collected, how it is being used, by whom and for what purposes.